| **003805GMP** | **Custom in vitro assay for detection of viral contaminants in accordance with EP and ICH guidelines** | **Inventory Control** | | | | |
| --- | --- | --- | --- | --- | --- | --- |
| **Supplier Catalogue Number** | **Oracle Part Number** | **Inventory Control** | **Release**  **Specification** | **In House/ secondary**  **BOM** |
| Material type | Name | **Y/N** | **Y/N** | **Y/N** |
| In-House Media | EMEM with 2% FBS and antibiotics | N/A | 100002239 | Y | Y | BPBT0609 |
| Purchased Raw Material | Trypsin-EDTA | 25300-062 | A25300062.500ML | Y | Y | N/A |
| Purchased Raw Material | PBS | 14190-094 | 100004079 | Y | Y | N/A |
| Erythrocyte | Guinea Pig Blood | PB030 | A0000991 | Y | Y | N/A |
| Erythrocyte | Chick Blood | S.B-0008H-U | 100002723 | Y | Y | N/A |
| Erythrocyte | Rhesus Monkey Blood | BS-SWB-AS-I | 100002722 | Y | Y | N/A |
| Detector Cells | MRC-5 Cells | CCL-171 | 100000232 | Y | Y | N/A |
| Detector Cells | VERO Cells | CCL-81 | 100000224 | Y | Y | N/A |
| Detector Cells | HeLa Cells | CCL-2 | 100000230 | Y | Y | N/A |
| Detector Cells | A9 Cells | 85011426 | 100004871 | Y | Y | N/A |
| Media | 2% EMEM | 041-95942 | 100007873 | Y | Y | N/A |
| Media | 2% EMEM | 04196673M | 100008428 | Y | Y | N/A |
| Media | 10% EMEM | 041-95941 | 100007874 | Y | Y | N/A |
| Media | 10% EMEM | 04196654M | 100008332 | Y | Y | N/A |
| Media | 1% DMEM | 041-95944M | 100000645 | Y | Y | N/A |
| Media | 1% DMEM | 04196672M | 100008427 | Y | Y | N/A |
| Media | 10% DMEM | 041-95943M | A04191881 | Y | Y | N/A |
| Media | 10% DMEM | 04196655M | 100008331 | Y | Y | N/A |
| Positive Control | MEASLES | VR-24 W | 100000938.PVB | Y | Y | N/A |
| Positive Control | PI3 | VR-281 W | 100000956.PVB | Y | Y | N/A |
| Positive Control | EMC | VR-129B | 100002708 | Y | Y | N/A |
| Raw Material | Pen Strep | 15140-122 | 100000777.100ML | Y | Y | N/A |
| Raw Material | Gentamycin | 15710-049 | 100001267.100ML | Y | Y | N/A |
| Raw Material | Fungizone | 15290-026 | 100000670.50ML | Y | Y | N/A |

**Approvals**

**Prepared By \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Approval (Ops) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Approval (QA) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Document Revision History**

|  |  |  |
| --- | --- | --- |
| **Revision Number** | **Details** | **Effective Date** |
| R00 | New BOM generation. Change Control 152231 | 17 Jun 2013 |
| R01 | SKU #s for 1% DMEM, 10% DMEM, 2% EMEM and 10% EMEM updated as per CC # 180003 AND 180475 | Date of Approval |